## SPEC SHEET
# | ITEM |  | COMM. | QTY. | U/M |  | DESCRIPTION | UNIT | EXTENDED | DELIVERY
Category | NO. |  | CODE # |  |  |  |  | COST | PRICE | TIME
Category # 1 - Overhead,
Primary, & Secondary Conductors
| 1. | 21 | 2801602110 | 17100 | LB. |  | CABLE, 477 MCM AAC CONDUCTOR, | 0 | 0 |  | /days
1 |  | 21 |  |  |  |  | "COSMOS", 1,900# REELS
1 | [5 empty] | Brand:
1 |  | 21
1 | 2. | 21 | 2804002116 | 5000 | FT. |  | WIRE, 3/8" GUY, SIEMENS-MARTIN GRADE, | 0 | 0 |  | /days
500 FOOT COILS
1 | [5 empty] | Brand:
1 |  | 21
1 | 3. | 21 | 2808002099 | 1000 | FT. |  | CABLE, 336 TRIPLEX, "LIMPET", XLP, | 0 | 0 |  | /days
1 |  | 21 |  |  |  |  | 1,000 FOOT REELS APPROX.
1 | [5 empty] | Brand:
1 |  | 21
1 | 4. | 21 | 2808002100 | 1000 | FT. |  | CABLE, 336 QUADRUPLEX, "BRONCO", | 0 | 0 |  | /days
1 |  | 21 |  |  |  |  | XLP, IN 1,000 FOOT REELS APPROX.
1 | [5 empty] | Brand:
1 |  | 21
1 | 5. | 21 | 2808002101 | 1100 | FT. |  | CABLE, 4/0 ALUMINUM QUADRUPLEX, "APPA- | 0 | 0 |  | /days
1 |  | 21 |  |  |  |  | LOOSA", XLP, 1,100 FOOT REELS APPRX.
1 | [5 empty] | Brand:
1 |  | 21
1 | 6. | 21 | 2808002102 | 1000 | FT. |  | CABLE, 4/0 ALUMINUM TRIPLEX, "ZUZARRA", | 0 | 0 |  | /days
1 |  | 21 |  |  |  |  | XLP, 1,000 FOOT REEL
1 | [5 empty] | Brand:
1 |  | 21
1 | 7. | 21 | 2808002105 | 1200 | FT. |  | CABLE, 1/0 ALUMINUM QUADRUPLEX, "COS- | 0 | 0 |  | /days
1 |  | 21 |  |  |  |  | TENA", XLP, 1,200 FOOT REELS APPROX.
1 | [5 empty] | Brand:
1 |  | 21
1 | 8. | 21 | 2801602111 | 3540 | LB. |  | CABLE, 4/0 ACSR CONDUCTOR, "PENGUIN", | 0 | 0 |  | /days
1 |  | 21 |  |  |  |  | 885 POUND REELS APPROX.
1 | [5 empty] | Brand:
1 |  | 21
1 | 9. | 21 | 2808002106 | 2500 | FT. |  | CABLE, 1/0 ALUMINUM TRIPLEX, "NERETINA", | 0 | 0 |  | /days
1 |  | 21 |  |  |  |  | XLP, 500 FOOT COILS APPROX.
1 | [5 empty] | Brand:
1 |  | 21
1 | 10. | 21 | 2808002107 | 15000 | FT. |  | CABLE, 2/3 ALUMINUM TRIPLEX, "CONCH", | 0 | 0 |  | /days
1 |  | 21 |  |  |  |  | XLP, 500 FOOT COIL
1 | [5 empty] | Brand:
1 |  | 21
1 | 11. | 21 | 2808002108 | 2000 | FT. |  | CABLE, 2/4 ALUMINUM QUADRUPLEX, "PALO- | 0 | 0 |  | /days
1 |  | 21 |  |  |  |  | MINO", XLP, 500 FOOT COIL
1 | [5 empty] | Brand:
1 |  | 21
1 | 12. | 21 | 2808002109 | 6000 | FT. |  | CABLE, 6/2 ALUMINUM DUPLEX, "SHEPHERD", | 0 | 0 |  | /days
1 |  | 21 |  |  |  |  | XLP, 500 FOOT COILS
1 | [5 empty] | Brand:
1 |  | 21
1 | 13. | 21 | 2801602113 | 3540 | LB. |  | CABLE, #2 ACSR CONDUCTOR, "SPARROW", | 0 | 0 |  | /days
1 |  | 21 |  |  |  |  | 885 POUND REELS APPROX.
1 | [5 empty] | Brand:
1 |  | 21
| 14. | 21 | 2801602114 | 7500 | FT. |  | CABLE, #2 ACSR 15KV, 6/1 TREE WIRE | 0 | 0 |  | /days
|  | 21 |  |  |  |  | 2,500 FOOT REELS
Brand:
1 | 15. | 21 | 2801602124 | 600 | LB. |  | WIRE, #4 SOLID, ALUMINUM TIE, 25 POUND | 0 | 0 |  | /days
1 |  | 21 |  |  |  |  | COILS
1 | [5 empty] | Brand:
| 16. |  |  | 750 | FT. |  | WIRE, #4 SOLID, ALUMINUM TIE, INSULATED | 0 | 0 |  | /days
HENDRIX BRAND, 250 FOOT COILS
1 |  | 21
[7 empty] | TOTAL FOR CATEGORY # 1: |  | 0
Category # 2(A & B) - Underground,
Primary, & Secondary Conductors
EITHER
Category 2A
2 | 17.* | 21 | 2808002447 | 10000 | FT. |  | CABLE, 1/0 STR, 15 KV, 220 MIL, XLPTR, FULL | 0 | 0 |  | /days
2 |  | 21 |  |  |  |  | CONCENTRIC URD, ALUMINUM, UNDERGROUND
2 | [5 empty] | Brand:
2 |  | 21 | OR
Category 2B
2 | 18.* |  | 2808002447 | 10000 | FT. |  | CABLE, 1/0 STR, 15 KV, 220 MIL, EPR, FULL | 0 | 0 |  | /days
2 | [6 empty] | CONCENTRIC URD, ALUMINUM, UNDERGROUND
2 | [5 empty] | Brand:
2
2 | 19. | 21 | 2801602463 | 2000 | FT. |  | CABLE, 350 MCM ALUMINUM, 600 URD WITH | 0 | 0 |  | /days
2 |  | 21 |  |  |  |  | 4/0 NEUTRAL TRIPLEX, "WESLEYAN" 1,000
2 |  | 21 |  |  |  |  | FOOT REELS APPROX.
2 | [5 empty] | Brand:
2 |  | 21
2 | 20. | 21 | 2801602464 | 1000 | FT. |  | CABLE, 4/0 URD XLP/YS, TRIPLEX, "SWEET- | 0 | 0 |  | /days
2 |  | 21 |  |  |  |  | BRIAR", 1,000 FOOT REELS APPROX.
2 | [5 empty] | Brand:
[7 empty] | TOTAL FOR CATEGORY # 2A* (ITEMS 17, 19, & 20): |  | 0
OR
[7 empty] | TOTAL FOR CATEGORY # 2B* (ITEMS 18, 19, & 20): |  | 0
*Note - EITHER Category 2A OR 2B to be purchased.
Category # 3 - Insulated Low Voltage
and Bare Conductors
3 | 21. | 21 | 2802402115 | 6000 | FT. |  | WIRE, #12 COPPER THHN, SOLID, BLACK, | 0 | 0 |  | /days
3 |  | 21 |  |  |  |  | 500 FOOT COILS
3 | [5 empty] | Brand:
3
3 | 22. | 21 | 2802402117 | 6000 | FT. |  | WIRE, #12 COPPER THHN, SOLID, WHITE, | 0 | 0 |  | /days
3 |  | 21 |  |  |  |  | 500 FOOT COILS
3 | [5 empty] | Brand:
3 |  | 21
3 | 23. | 21 | 2802402121 | 500 | FT. |  | WIRE, 4/0 COPPER THW, BLACK TO THHN | 0 | 0 |  | /days
3 |  | 21 |  |  |  |  | 19 STR., IN 500 FOOT REELS
3 | [5 empty] | Brand:
3 |  | 21
3 | 24. | 21 | 2802402122 | 500 | FT. |  | WIRE, COPPER 500 MCM THW, 500 FOOT REELS | 0 | 0 |  | /days
3 | [5 empty] | Brand:
3 | 25. | 21 | 2801602118 | 1200 | LB. |  | WIRE, #6 COPPER, SOLID, BARE, SOFT | 0 | 0 |  | /days
3 |  | 21 |  |  |  |  | DRAWN, 25 POUND COILS
3 | [5 empty] | Brand:
3 |  | 21
3 | 26. | 21 | 2801602119 | 800 | LB. |  | WIRE, #2 COPPER, STRANDED, BARE, | 0 | 0 |  | /days
3 |  | 21 |  |  |  |  | SOFT DRAWN, 25 POUND COILS
3 | [5 empty] | Brand:
3 |  | 21
3 | 27. | 21 | 2801602120 | 50 | LB. |  | WIRE, #4 COPPER, SOLID, SOFT | 0 | 0 |  | /days
3 |  | 21 |  |  |  |  | DRAWN, 25 POUND COILS
3 | [5 empty] | Brand:
3 |  | 21
3 | 28. |  | 2801602499 | 1000 | FT. |  | CABLE, CONTROL 9-10 AWG. , ICEA-K1 | 0 | 0 |  | /days
3 | [6 empty] | 9" CONDUCTOR, 10 AWG, CONTROL CABLE;
3 | [6 empty] | STRANDED COPPER CONDUCTORS; NON-
3 | [6 empty] | HYGROSCOPIC TAPE BINDER; OUTER JACKET
3 | [6 empty] | GAS/VAPOR-TIGHT HEAVY DUTY, FLAME AND
3 | [6 empty] | SUN RESISTANT HYPALON (BLACK). U.L.,
3 | [6 empty] | LISTED AND OSHA APPROVED; COLOR CODED
3 | [6 empty] | SOLID BASE COLOR ORANGE, BLACK, WHITE,
3 | [6 empty] | WHITE WITH BLACK TRACER, BLUE, RED,
3 | [6 empty] | GREEN, GREEN WITH BLACK TRACER, RED
3 | [6 empty] | WITH BLACK TRACER; INSULATION AT 600
3 | [6 empty] | VOLTS; INSTALLATION OF TRAYS OR CONDUIT;
3 | [6 empty] | THHN - THWN OR EQUAL
3 | [6 empty] | ANICOM; HOUSTON WIRE & CABLE; PRIORITY
3 | [6 empty] | WIRE & CABLE OR EQUAL
3 | [5 empty] | Brand:
3 | 29. | 2801602475 | 2801602475 | 2500 | FT. |  | WIRE, STINGER, #6 SOLID, COPPER, TRW, 5KV; | 0 | 0 |  | /days
3 | [6 empty] | COATED; 250' SPOOLS;
3 | [6 empty] | OKONITE OR EQUAL
3 | [5 empty] | Brand:
| 30. |  | 2801602500 | 1000 | FT. |  | WIRE, 1/0 COPPER, BLACK THHN | 0 | 0 |  | /days
19 STR., IN 500 FOOT REELS
Brand:
3
[7 empty] | TOTAL FOR CATEGORY # 3: |  | 0
Category # 4 - Street Lighting
Conductors
| 31. |  | SO #1 | 4000 | FT. |  | WIRE, #12 COPPER XLPE, SOLID, BLACK, | 0 | 0 |  | /days
1,000 FOOT REELS
Brand:
| 32. |  | SO #2 | 4000 | FT. |  | WIRE, #12 COPPER XLPE, SOLID, RED, | 0 | 0 |  | /days
1,000 FOOT REELS
Brand:
| 33. |  | SO #3 | 4000 | FT. |  | WIRE, #12 COPPER XLPE, SOLID, GREEN, | 0 | 0 |  | /days
1,000 FOOT REELS
Brand:
| 34. |  | SO #4 | 8000 | FT. |  | WIRE, #6 COPPER THHN, 7 STR., BLACK, | 0 | 0 |  | /days
1,000 FOOT REELS
Brand:
| 34. |  | SO #5 | 8000 | FT. |  | WIRE, #6 COPPER THHN, 7 STR., RED, | 0 | 0 |  | /days
1,000 FOOT REELS
Brand:
| 34. |  | SO #6 | 8000 | FT. |  | WIRE, #6 COPPER THHN, 7 STR., GREEN, | 0 | 0 |  | /days
1,000 FOOT REELS
Brand:
[7 empty] | TOTAL FOR CATEGORY # 4: |  | 0